## Slide 1
MBAC
MUNICIPAL BUILDINGS ADVISORY COMMITTEE
March 24, 2022

## Slide 2
Community Services BUILDINGS
Ingram Senior Center
William E. Palmer School
Hedgehog Park Recreation Building
Millville Circle Recreation Building

## Slide 3
COMMUNITY SERVICES

## Slide 4
Ingram Senior Center
20 Years Old
1. HVAC replacement
2. Attic insulation
3. Front roof line design hazard
4. Roof replacement
5. Guardrail concrete
6. Storage needed
7. Cover gas meter
8. Patio? ARPA funds?

## Slide 5: HVAC Financials
2018
2019
2020
Repairs & Maintenance
$6,420
Heat/AC Yearly Cost
$9,471
Total: $15,891
Repairs & Maintenance
$7,099
Heat/AC Yearly Cost
$9,310
Total: $16,409
Repairs & Maintenance
$8,710
Heat/AC Yearly Cost
$9,210
Total: $17,920
2021
Repairs & Maintenance
$8,022
Heat/AC Yearly Cost
$10,767
Total: $18,789

## Slide 6
Roof line issues, which allows for icing issues on sidewalk/ramp creating a safety hazard
Roof

## Slide 8
Front Sidewalk/Ramp
Concrete damage around handrail
Concrete damage

## Slide 9
Plastic grates for air circulation, due to improper spray foam application
Window glaze and stain
**Windows do not open for air circulation

## Slide 10
Potential patio area

## Slide 11
William E. Palmer School
Built in 1853
169 years old
Ramp
Bowing back side of building
Paint chipping
Check for lead?
Register as a Historical Building?

## Slide 12
Hazardous steps
Hazardous ramp
William E. Palmer School

## Slide 13
Paint chipping
Cellar

## Slide 14
Bow in wall
Bow in wall
Interior
William E. Palmer School

## Slide 15
Hedgehog Park
LWCF Grant 2010
Building hazardous
Wood rotted
Roof needs replacing
Rodent infested
Tree work
Tear down?

## Slide 16
Roof needs replacing
Wood damage
Wood damage
Wood damage
Hedgehog Park

## Slide 17
Millville Building
Hazardous conditions
Rodent infested
Tear down?

## Slide 19
DISCUSSION